## Sheet1
Estimate of Materials and Cost of Construction
DIV 01 | GENERAL REQUIREMENTS
Plan Design and Permitting
Architecture
Engineering
Permit Running
Permits
Plan Coordination
Equipment and Tools
Tool Rentals
Tool Shed
Scaffolding
Lifts
Dust Control
Ice, Water, Beverages
Bonds, Insurance, Legal
Casualty Insurance
Medical Insurance
General Liability Insurance
Bonds
DIV 02 | EXISTING CONDITION/SITEWORK
Description
Site Utilities
Septic System w/1350GAL Tank w/Outlet Filter
Fencing
Silt Fence
Landscaping
Ground Cover
New SOD to Match Existing
Demolition
Remove Plumbing Fixtures
Remove Appliances
Remove Exterior Window
Remove Exterior Doors & Sidelite Windows
Relocate Electrical Panel
Remove Interior Doors
Remove Closet
Demolish Non Bearing Interior Partitions
Demolish Wood Frame Wall
Demolish Roof Supports & Floor of Existing Covered Terrace
Demolish Roof from Eave to Ridge
Remove Countertop
Remove all Lighting & A/C Equipments From this area
DIV 03 | CONCRETE
Description
Slab
4" Concrete Slab w/6x6-W1.4xW1.4 W.W.F (1251 SF)
8" Reinforced Concrete Floor Slab (816 SF)
6 MIL Polyethene Vapor Barrier
Well Compacted Fill
Thickened Edge
Thickened Edge (2.23 SF) Reinforced w/1#5 Bottom Bar
Beams
Beam B-1: 8"x16" Beam w/2#6 Bott. ,4#6 Top & #3 @5" Stirrups
Beam B-2: 8"x19" Beam w/2#6 Bott. ,2#6 Top & #3 @6" Stirrups
Beam B-3: 8"x16" Beam w/2#6 Bott. ,2#6 Top & #3 @5" Stirrups
Beam B-4: 12"x26" Beam w/3#7 Bott. ,3#7 Top & #4 @6" Stirrups
Columns
Column TC: 8"x12" Concrete Column w/4#5 Vert. & #3 @8" O.C. Ties
Column TC-1: 8"x16" Concrete Column w/4#6 Vert. & #3 @8" O.C. Ties
Pad Footings
Footing MF-2.5: 2'-6"x2'-6"x24" Reinforced w/3#5 Bottom EA. Way
Footing F-3: 3'-0"x3'-0"x12" Reinforced w/4#5 Bottom EA. Way
Footing F-4: 4'-0"x4'-0"x12" Reinforced w/5#5 Bottom EA. Way
Footing F-4.5: 4'-6"x4'-6"x12" Reinforced w/6#5 Bottom EA. Way
Footing F-4.5x5: 4'-6"x5'-0"x24" Reinforced w/6#5 Top & Bottom EA. Way
Footing F-5: 5'-0"x5'-0"x24" Reinforced w/6#5 Bottom EA. Way
Grade Beams
Grade Beam GB-1: 16"x16" Beam w/3#6 Bott. ,3#6 Top & #4 @6" Stirrups
DIV 05 | METALS
Description
Railing
Alumnium Picket Railing w/Square Post
Columns
SC-1: HSS6x6x3/8 (2 EA, 10'-0" High)
SC-2: HSS6x6x3/8 (4 EA, 10'-0" High)
SC-3: HSS4x4x1/4 (1 EA, 10'-0" High)
SC-4: HSS4x4x1/4 (4 EA, 10'-0" High)
SC-5: HSS6x6x1/4 (2 EA, 10'-0" High)
SC-6: HSS6x6x1/4 (2 EA, 10'-0" High)
Steel Plates
3/4"x12"x12" Steel Base Plate
1/2"x8"x9" Steel Base Plate
5/8"x11-1/2"x5-1/2" Steel Base Plate
5/8"x1'-3"x8" Steel Base Plate
5/8"x11-1/2"x5-1/2" Steel Cap Plate
5/8"x1'-3"x8" Steel Cap Plate
5/8"x8"x8" Steel Cap Plate
5/8"x7"x7" Steel Cap Plate
Beams
W8x31 Steel Beam
Stairs
Spiral Stairs (Provide Shop Drawings)
DIV 06 | WOOD,PLASTIC & COMPOSITES
Description
Truss/Joists
2x6 PT Outlookers @ 16" O.C. (211 SF)
2x12 S.P. No.1 Wood Floor Joists @ 12" O.C. (664 SF)
New Piggy Back Trusses @ 24" O.C.
Prefabricated Wood Scissor Trusses @ 24" O.C.
Prefabricated Wood Trusses @ 24" O.C.
Floor Girder Truss (3 Plies)
Girder Truss (2 Plies)
Hip Truss
Ledgers/Headers
(2) 2x12 Cont P.T. Wood Ledger
(3) 2x8 Header
(4) 2x6 Header
2x8 Cont P.T. Wood Ledger
2x12 Wood Blocking
6x8 P.T. Wood Beam
Bracing
Cross Bracing
Posts & Studs
6x6 Wood Posts (4 EA, 10'-0" High)
Studs WS-2: (6) 2x6 Wood Studs at Corner
Studs WS-3: (2) 2x6 Wood King Studs+(2) 2x6 Wood Jack Studs
Studs WS-4: (7) 2x6 Wood Studs at Corner
Studs WS-5: (3) 2x6 Wood King Studs+(1) 2x6 Wood Jack Studs
Studs WS-7: (3) 2x6 Wood Studs
Studs WS-8: (2) 2x6 Wood Studs
Wood Studs/Strips
Walls
1x3 Wood Strips @ 16" O.C.
2x4 Wood Studs @ 16" O.C.
2x6 Wood Studs @ 16" O.C.
Ceiling
1x3 Wood Strips @ 16" O.C.
Wood Plates
2x4 Bottom Wood Plates
2x4 Top Wood Plates
2x6 Bottom Wood Plates
2x6 Top Wood Plates
Insulation
Walls
R-19 Batt Insulation
R-5.0 Rigid Insulation
Roof
R-30 Batt Insulation
Fascia & Soffit
6" Painted Wood Fascia
Sheathing
5/8" CDX Plywood Sheathing (Roof)
5/8" DensGlass Sheathing (Walls)
3/4" Plywood Sheathing (Floor)
Water Barrier
2 Layers of Water Resistant Barrier for Exterior Walls
DIV 07 | THERMAL & MOISTURE PROTECTION
Description
Roofing
Flat Concrete Tile
#90 Mineral Surface Felt
#30 Felt
Flat Wood Roof
Modified Bitumen Roofing
Energy Star Listed Ruberoid Energy Cap SBS 30R Over Ruberoid 20
Misc
Roof Cricket (1 EA)
Roof Flashing
Metal Flashing @ all roof to wall connections
Metal Drip Edge
Ridge
Hip
Valley
Drainage
Roof Drain
12" Wide Copper Emergency Scupper
6" Copper Gutter
6" Copper Downspout
Skylight
(3'-0"x5'-0") Impact Resistant Skylight
DIV 08 | OPENINGS
Description
Doors
Interior Doors
Door A: 2'-6"x6'-8" Solid Core Wood Door
Door B: 2'-0"x6'-8" Solid Core Wood Door
Door C: (2)2'-6"x6'-8" Solid Core Wood Door
Door D: 2'-8"x6'-8" Solid Core Wood Door w/45Min Fire Rating
Door E: 2'-8"x6'-8" Solid Core Wood Door
Door F: 2'-4"x6'-8" Solid Core Wood Door
Door G: (2) 3'-0"x6'-8" Solid Core Wood Door
Exterior Doors
Door 101: PR 4'-5-1/2"x6'-8" E-Slider 2 Panel Door
Door 102: PR 2'-6"x8'-0" E-Double French Door
Door 103: PR 2'-6"x8'-0" E-Double French Door
Door 104: 2'-8"x7'-0" E-Single French Door
Door 201: PR 2'-6"x7'-6" E-Double French Door
Door 202: PR 2'-6"x7'-6" E-Double French Door
Door 203: PR 2'-6"x7'-6" E-Double French Door
Door 204: PR 2'-6"x7'-6" E-Double French Door
Door Trims
Door Trims
Door Harwares
Door Hardwares
Windows/Storefront System
Window 101: 2'-1-1/2"x8'-0" Sidelite Window
Window 102: 2'-1-1/2"x8'-0" Sidelite Window
Window 201: 2'-6"x7'-6" Sidelite Window
Window 202: 2'-6"x7'-6" Sidelite Window
Window 203: 3'-1"x3'-0" Casement Window
Window 204: 2'-0"x3'-0" Casement Window
Window 205: 2'-0"x3'-0" Casement Window
Window 206: 3'-1"x3'-0" Casement Window
Window 207: 2'-0"x3'-0" Casement Window
Window 208: 2'-6"x3'-0" Fixed Glass Window
Window 209: 2'-6"x3'-0" Fixed Glass Window
Window 210: 4'-2"x1'-8" Double Casement Window
Window 211: 4'-2"x1'-8" Double Casement Window
Window 212: 4'-2"x1'-8" Double Casement Window
Window 213: 2'-6"x3'-0" Fixed Glass Window
Windows Trims
Windows Trims
Misc
24"x36" Attic Access
DIV 09 | FINISHES
Description
Drywall Finish
Walls
5/8" Gypsum Board
5/8" Gypsum Board-Moisture Resistant
1/2" Gypsum Board
1/2" Gypsum Board-Moisture Resistant
1/2" Cement Board
Ceiling
5/8" Gypsum Board Ceiling
5/8" Gypsum Board Ceiling-Moisture Resistant
Smooth Plaster Finish Ceiling @ Exterior Side
Material Breakdown
4'x8'x5/8" Gypsum Board
4'x8'x1/2" Gypsum Board
4'x8'x1/2" Cement Board
Screw Boxes
Joint Compound
Tape Rolls
Floor Finishes
Slip Resistant Tile Flooring
Paint
Ceiling Paint (2 Coats of Paint, 1 Coat of Primer)
Wall Paint (2 Coats of Paint, 1 Coat of Primer)
Wall Tiles
Wall Tiles for Tub/Shower
Exterior Finish
Stucco Wall Finish
6" Wide Profile Stucco Siding w/Tapering Effect
Existing Siding to be Partially Removed & Repair
Smooth Plaster over Densglass Board
Stucco Window Sill
DIV 10 | SPECIALITIES
Description
Countertops
Countertop @ Laundary
Bath Countertop
Bath Accessories (Assumed)
Vanity Mirror
42" Grab Bar
36" Grab Bar
Toilet Tissue Dispenser
Hand Dryer
DIV 11 | EQUIPMENTS
Description
Equipments
Reinstall Washer/Dryer
Washer/Dryer
DIV 12 | FURNISHING
Description
Cabinets/Closets
Closet
Walk in Closet
1'-0" Wall Mounted Cabinets
DIV 22 | PLUMBING
Description
Sanitary/Vent Pipes
1-1/2" Dia Sanitary Pipe
2" Dia Sanitary Pipe
3" Dia Sanitary Pipe
2" Dia Vent Pipe
3" Dia Vent Pipe
Domestic Water Pipes
1" Dia Cold Water Pipe
1-1/4" Dia Cold Water Pipe
1/2" Dia Cold Water Pipe
3/4" Dia Cold Water Pipe
3/4" Dia Hot Water Pipe
1/2" Dia Hot Water Pipe
Fixtures
Lavatory
Bath Tub
Kitchen Sink
Water Closet
Shower Compartment
Tankless Water Heater Manufacturer: STIELBEL ELTRON Model: Tempra 20, 19.2kW
Bath Tub
Reinstall Water Closet
Reinstall Water Lavatory/Sink
Relocated Tankless Water Heater
Shower Controls
Water Hammer Arrestor
Valves
Allowances
Provide Allowances for Bends & Pi-Traps Etc
DIV 23 | HVAC
Description
Ducts
4" Dia Circular Duct
4" Dia Flexible Duct
6" Dia Circular Duct
5" Dia Flexible Duct
6" Dia Flexible Duct
7" Dia Flexible Duct
8" Dia Flexible Duct
10" Dia Flexible Duct
10x6 Duct Up
6x8 Rectangular Duct
8x10 Rectangular Duct
10x8 Rectangular Duct
10x10 Rectangular Duct
12x8 Rectangular Duct
12x12 Rectangular Duct
18x6 Rectangular Duct
20x12 Rectangular Duct
Diffusers/Grilles
6x6 Supply Ceiling Diffuser(25 CFM)
6x6 Supply Ceiling Diffuser(30 CFM)
6x6 Supply Ceiling Diffuser(40 CFM)
6x6 Supply Ceiling Diffuser(50 CFM)
6x6 Supply Ceiling Diffuser(70 CFM)
6x6 Supply Ceiling Diffuser(80 CFM)
8x8 Supply Ceiling Diffuser(70 CFM)
8x8 Supply Ceiling Diffuser(120 CFM)
10x8 Supply Ceiling Diffuser(150 CFM)
10x10 Supply Ceiling Diffuser(150 CFM)
10x10 Supply Ceiling Diffuser(170 CFM)
10x10 Supply Ceiling Diffuser(200 CFM)
10x10 Supply Ceiling Diffuser(220 CFM)
10x10 Supply Ceiling Diffuser(230 CFM)
10x10 Supply Ceiling Diffuser(225 CFM)
12x8 Supply Ceiling Diffuser(165 CFM)
12x8 Supply Ceiling Diffuser(180 CFM)
12x12 Supply Ceiling Diffuser(225 CFM)
10x10 Return Air Grille
12x12 Return Air Grille
14x14 Return Air Grille
18x10 Return Air Grille
18x18 Return Air Grille
30x6 Return Air Grille
30x24 Return Air Grille
Exhaust Fans
EF-1 (50 CFM) Manufacturer: Nutone, Model# QTXEN050
Air Handling/Condensing Units
CU#2 Manufacturer: Carrier
AHU#2 Manufacturer: Carrier, 5Tons
Misc
Wall Programmable Thermostat
Motorized Damper
Volume Damper
Backdraft Damper
Full Size Discharge Air Plenum Box
1" Dia Condensate Line
2" Dia Condensate Line
Allowances
Provide Allowances for Duct Bends, Piping ETC
DIV 26 | ELECTRICAL
Description
Outlets & Switches
20A,125V Duplex Receptacle
20A,125V Single Receptacle
20A,125V Duplex Receptacle,GFI
20A,125V Duplex Receptacle,GFI(WP)
Special Pupose Outlet
TV Outlet
Computer/Data Outlet
Dual Telephone Outlet
Single Pole Switch
Toggle Switch w/Pilot Light
3 Way Switch
4 Way Switch
2P/60A Non Fused Disconnect Switch
Junction Box
Light Fixtures
Ceiling Mounted Light Fixtures
Ceiling Mounted Light Fixtures(VP)
Wall Mounted Light Fixture
Pendant Light Fixture
1x4 Fluorescent Light Fixture
Detectors
120V Smoke & CO Alarms Combo w/Battery Pack
Panels
Panel 'B' 200A MCB, 120/240V, 1Ph,3W 22k AIC
Circuit Breakers
1P/20A Circuit Breaker
1P/30A Circuit Breaker
2P/50A Circuit Breaker
Allowances
Allowances for wiring & conduits
DIV 31 | EARTHWORK
Description
Earthwork
Excavation (Approx.)
Backfill (Approx.)
SUBTOTAL
CONTINGENCY COST
INSURANCE
OVERHEAD & PROFITS
TOTAL